## ProDSS
Sample # | Date | Time | Temp | mmHg | DO mg/L | SPC | SAL | pH | FNU | TSS | Notes
1 | 2024-07-08 | 4pm | 21.3 | 758.8 | 7.54 | 49145 | 32.17 ppt | 8.09 | 0.24 | 0 | Before base addition
2 | 2024-07-08 | 5pm | 21.3 | 758.5 | 7.53 | 49082 | 32.12 | 9.15 | 0.35 | 0 | After base addition
3 | 2024-07-09 | 12pm | 21.3 | 758.4 | 7.57 | 49176 | 32.2 | 8.98 | 0.3 | 0
4 | 2024-07-09 | 1:15pm | 21.3 | 758.2 | 7.56 | 49185 | 32.2 | 9.01 | 0.26 | 0
5 | 2024-07-10 | 11:04am | 21.2 | 762.4 | 7.1 | 49547 | 32.42 | 8.9 | 0.36 | 0
6 | 2024-07-10 | 1:12pm | 21.2 | 762.4 | 7.05 | 49504 | 32.43 | 8.89 | 0.35 | 0
7 | 2024-07-11 | 10:27am | 21.2 | 765.1 | 7.39 | 49600 | 32.51 | 8.81 | 0.32 | 0
8 | 2024-07-11 | 11:38am | 21.2 | 765.1 | 7.37 | 49614 | 32.52 | 8.82 | 0.31 | 0
9 | 2024-07-11 | 1:04pm | 21.1 | 764.8 | 7.39 | 49602 | 32.51 | 8.8 | 0.29 | 0
10 | 2024-07-12 | 9:47am | 21.1 | 763.9 | 7.33 | 49539 | 32.47 | 8.72 | 0.25 | 0
11 | 2024-07-12 | 11:11am | 21.1 | 763.7 | 7.35 | 49555 | 32.47 | 8.7 | 0.96 | 0
12 | 2024-07-12 | 12:33pm | 21.1 | 763.6 | 7.34 | 49563 | 32.48 | 8.7 | 0.83 | 0
13 | 2024-07-15 | 11:46pm | 21.4 | 764.7 | 7.35 | 49776 | 32.63 | 8.53 | 0.46 | 0
14 | 2024-07-15 | 12:51pm | 21.4 | 764.8 | 7.35 | 49835 | 32.68 | 8.6 | 0.44 | 0
15 | 2024-07-15 | 3:55pm | 21.4 | 763.9 | 7.35 | 49857 | 32.69 | 8.59 | 0.42 | 0
16 | 2024-07-16 | 11:42am | 21.3 | 761.8 | 7.19 | 49797 | 32.65 | 8.54 | 0.36 | 0
17 | 2024-07-16 | 12:24pm | 21.2 | 761.4 | 7.37 | 49796 | 32.66 | 8.47 | 0.42 | 0
18 | 2024-07-16 | 1:39pm | 21.3 | 760.9 | 7.27 | 49799 | 32.65 | 8.5 | 0.51 | 0
19 | 2024-07-17 | 1:12pm | 21.6 | 760.6 | 7.27 | 49783 | 32.63 | 8.32 | 0.51 | 0
20 | 2024-07-17 | 1:46pm | 21.6 | 760.5 | 7.29 | 49791 | 32.64 | 8.32 | 0.51 | 0
21 | 2024-07-17 | 2:50pm | 21.7 | 760.2 | 7.26 | 49799 | 32.65 | 8.32 | 0.5 | 0
22 | 2024-07-18 | 9:50pm | 21.7 | 763.4 | 7.39 | 49903 | 32.74 | 8.29 | 0.41 | 0
23 | 2024-07-18 | 2:10pm | 21.8 | 762.8 | 7.41 | 49949 | 32.75 | 8.32 | 0.34 | 0
24 | 2024-07-18 | 2:24pm | 21.7 | 763 | 7.48 | 49932 | 32.75 | 8.29 | 0.49 | 0
25 | 2024-07-19 | 12:20pm | 21.7 | - | 7.43 | 49903 | 32.72 | 8.26 | 0.44 | 0 | reyna took
26 | 2024-07-19 | 1:17pm | 21.8 | - | 7.42 | 49914 | 32.73 | 8.27 | 0.38 | 0 | reyna took
27 | 2024-07-19 | 2:52pm | 21.8 | - | 7.43 | 49928 | 32.72 | 8.27 | 0.39 | 0 | reyna took
28 | 2024-07-22 | 4:00pm | 21.6 | 764.8 | 7.23 | 50232 | 32.97 | 8.17 | 0.35 | 0
29 | 2024-07-22 | 4:40pm | 21.6 | 764.8 | 7.26 | 50232 | 32.97 | 8.15 | 0.37 | 0
30 | 2024-07-22 | 5:14pm | 21.6 | 765 | 7.23 | 50244 | 32.97 | 8.17 | 0.36 | 0
31 | 2024-07-23 | 11:24am | 21.3 | 766.1 | 7.27 | 50300 | 33.02 | 8.2 | 0.37 | 0
32 | 2024-07-23 | 2:53pm | 21.4 | 764.8 | 7.27 | 50325 | 33.04 | 8.18 | 0.33 | 0
33 | 2024-07-23 | 5:02pm | 21.4 | 764.2 | 7.27 | 50343 | 33.05 | 8.21 | 0.35 | 0
34 | 2024-07-24 | 11:17am | 21.1 | 763.6 | 7.19 | 50409 | 33.1 | 8.13 | 0.36 | 0
35 | 2024-07-24 | 1:34pm | 21.2 | 763.8 | 7.21 | 50452 | 33.13 | 8.19 | 0.34 | 0
36 | 2024-07-24 | 2:14pm | 21.2 | 764 | 7.21 | 50468 | 33.14 | 8.2 | 0.34 | 0
37 | 2024-07-25 | 2:18pm | 21.1 | 767.8 | 7.24 | 50580 | 33.23 | 8.2 | 0.37 | 0
38 | 2024-07-25 | 2:58pm | 21.1 | 767.6 | 7.22 | 50600 | 33.24 | 8.26 | 0.44 | 0
39 | 2024-07-25 | 3:27pm | 21.1 | 767.5 | 7.22 | 50606 | 33.25 | 8.26 | 0.76 | 0
40 | 2024-07-26 | 2:15pm | 20.9 | 762.4 | 7.26 | 50580 | 33.23 | 8.16 | 0.44 | 0
41 | 2024-07-26 | 2:35pm | 20.9 | 762.1 | 7.25 | 50629 | 33.26 | 8.18 | 0.41 | 0
42 | 2024-07-26 | 3:09pm | 20.9 | 762 | 7.26 | 50642 | 33.27 | 8.19 | 0.42 | 0
43 | 2024-07-29 | 2:27pm | 20.9 | 758.4 | 7.32 | 50926 | 33.48 | 8.1 | 0.22 | 0
44 | 2024-07-29 | 3:03pm | 20.9 | 758.5 | 7.31 | 50941 | 33.49 | 8.13 | 0.35 | 0
45 | 2024-07-29 | 3:26pm | 20.9 | 758.5 | 7.3 | 50945 | 33.5 | 8.13 | 0.27 | 0
46 | 2024-07-30 | 11:26am | 21.2 | 760.9 | 7.34 | 51203 | 33.68 | 8.1 | 0.42 | 0
47 | 2024-07-30 | 11:56am | 21.2 | 761.1 | 7.31 | 51217 | 33.69 | 8.12 | 0.42 | 0
48 | 2024-07-30 | 12:29pm | 21.2 | 761.2 | 7.31 | 51215 | 33.69 | 8.13 | 0.45 | 0
49 | 2024-07-31 | 8:30am | 21.3 | 762.9 | 7.24 | 51263 | 33.73 | 8.01 | 0.39 | 0
50 | 2024-07-31 | 8:36am | 21.3 | 762.9 | 7.24 | 51271 | 33.73 | 7.98 | 0.42 | 0
51 | 2024-07-31 | 8:59am | 21.3 | 762.9 | 7.24 | 51280 | 33.74 | 7.96 | 0.46 | 0

## Serial Numbers
pH
| SAMI | 0008
Idronaut Tank |  | 0910575
Idrornaut Raw |  | 0707451
| EXO | 21B103964
| TROLL600 | 669249, PN: 0074040
| ProDSS | 22F104146
| Seabird | 3730715
pCO2
| SAMI | LN048
| Turner | 24100180
| ASV-CO2 | 0008

## All Sensors
pH | Deployed? | pH Scale | Time Zone | final data exported?
SAMI |  | total | utc
Idronaut |  | total | local
EXO |  | nbs | local
TROLL600 |  | nbs | local
Solid State
ProDSS |  | nbs | local
Seabird |  | nbs | utc
pCO2 | Deployed? |  | Time Zone | final data exported?
SAMI |  |  | local?
Turner |  |  | local
ASV-CO2 |  |  | utc
Licor850 |  |  | local

## Deployment
Deployment
For Exp19
| Sensor | Variable | Deployed | Interval | Notes
Current
| Idronaut | pH | 2024-07-03 | 7/sec
| Seabird | pH | 2024-07-08 | 1hr | Recording on the hour, 1 pm
| EXO | pH | 2024-07-08 | 1hr | On the hour (10am). Replaced 1 pH sensors.
| Turner | pCO2 | 2024-07-08 | 1min | Put in water at ~10:40AM
| TROLL | pH | 2024-07-08 | 1hr | On the hour (12pm)
| SAMI pH | pH | 2024-07-08 | 1hr | Recording on the hour, 1pm
Drain:
Started at 16:30, 7/31
For Exp20
| Sensor | Variable | Deployed | Interval | Notes
Current
| Idronaut | pH | 2024-08-05 | 1min | Still operating correctly. Outputs every minute.
| Seabird | pH | 2024-08-05 | 2min | Recording every 2min, set to start at 01:00:00 UTC, Aug 6
| EXO | pH
| Turner | pCO2 | 2024-08-05 | 1min | Checked to make sure still operating
| TROLL | pH | 2024-08-05 | 2min | Scheduled to start at 1AM UTC (6pm PST)
| SAMI pH | pH | 2024-08-05 | 15min | 15 min recc minimum. Set to start at 1AM UTC
| SAMI CO2 | pCO2 | 2024-08-05 | 15min | 15 min recc minimum. Set to start at 1AM UTC

## Idronaut
Date | Tank | Raw | Notes | PSI
2024-07-08 | 172 | 142
2024-07-09 | 173 | 143
2024-07-10 | 174 | 144
2024-07-11 | 175 | 145 | Power outage here, may have lost ~30-45 mins of data.
| 176 | 146
2024-07-12 | 177 | 147 |  | ~700
| 178 | 148 | exported data
| x | 148 | computer crashed and went to BIOS. Restarted system
2024-07-15 | 179 | 149
2024-07-16 | 180 | 150 | Shook interior | ~700
2024-07-17 | 181 | 151 | Cleaned interior for both | ~700
| 182 | 152 | power supply went down
2024-07-18 | 183 | 153
2024-07-19 | 184 | 154
| 185 | 155 | power supply went down at some point
2024-07-22 | 186 | 156 | Raw seawater change; Idronaut sampling broke from 2-3ish - reconnected to extension cord that routes across lab
~700
2024-07-23 | 187 | 157 | Lost 10 mins of data around 10:30-10:40
| 188 |  | Alex plugged in power monitor
2024-07-24 | 189 | 158 |  | ~700
190
|  | 159 | Raw SW idronaut tripped - rerouted to direct power
| 191 |  | Someone changed this
2024-07-25 | 192 | 160 |  | ~690
2024-07-26 | 193 | 161 | Shaking idronauts | ~690
2024-07-29 | 194 | 162 |  | ~690
2024-07-30 | 195 | 163 |  | ~690

## Licor
Sample # | Date | Begin Time | End Time | note
1 | 2024-07-08 | 16:58 | 17:06 | idk if pump was on
2 | 2024-07-08 | 17:08 | 17:16 | idk if pump was on
3 | 2024-07-08 | 17:18 | 17:33 | idk if pump was on
4 | 2024-07-09 | 12:38 | 12:51 | idk if pump was on
5 | 2024-07-10 | 14:12 | 14:17
6 | 2024-07-10 | 14:19 | 14:24
7 | 2024-07-11 | 15:31 | 15:38
8 | 2024-07-11 | 15:41 | 15:48
9 | 2024-07-12 | 13:39 | 13:44
10 | 2024-07-12 | 13:46 | 13:52
11 | 2024-07-15 | 12:36 | 12:41
12 | 2024-07-15 | 12:42 | 12:48
13 | 2024-07-16 | 12:17 | 12:22
14 | 2024-07-16 | 12:24 | 12:29
15 | 2024-07-17 | 14:31 | 14:37
16 | 2024-07-17 | 14:38 | 14:46
17 | 2024-07-18 | 14:09 | 14:15
18 | 2024-07-18 | 14:15 | 14:21
19 | 2024-07-19 | 12:58 | 13:03 | Reyna took
20 | 2024-07-19 | 13:05 | 13:10 | Reyna took
21 | 2024-07-19 | 13:12 | 13:17 | Reyna took
22 | 2024-07-22 | 15:58 | 16:03
23 | 2024-07-22 | 16:05 | 16:10
24 | 2024-07-23 | 14:52 | 14:57
25 | 2024-07-23 | 14:58 | 15:08
26 | 2024-07-24 | 13:52 | 13:58
27 | 2024-07-24 | 13:59 | 14:06
28 | 2024-07-25 | 15:13 | 15:18
29 | 2024-07-25 | 15:20 | 15:25
30 | 2024-07-26 | 14:43 | 14:51
31 | 2024-07-26 | 14:52 | 14:56
32 | 2024-07-29 | 15:10 | 15:16
33 | 2024-07-29 | 15:16 | 15:23
34 | 2024-07-30 | 12:14 | 12:19
35 | 2024-07-30 | 12:20 | 12:25

## Turner
Turner C Sense Calibration Info
Time | Output | Length
10:00 | 1 | 2min
10:02 | 0.5 | 2min
10:04 | 0 | 5min
10:09

## DICTA Sample Info
DIC/TA Sample Info
| Tank (Idronaut): | [10 empty] | Raw (ProDSS):
Date |  | Time (local) | Name | Temp 1 | Temp 2 | Salinity | DO | pH | Turbidity | SW pCO2 | ATM pCO2 |  | Time (local) | Name | Temp | Salinity | Notes
2024-07-08 |  | 16:22 | EBB181 | 21.729 | 21.392 | 32.089 | 1.35 | 7.919 | 56.2 | 516.85 | 479.89 |  | 16:22 | DRUM136 | lost | lost | Lost Sal & Temp - accidentally used Idronaut instead of ProDSS data
2024-07-08 |  | 16:55 | EBB182 | 21.917 | 21.42 | 32.018 | 1.53 | 8.972 | 53.35 | 31.12 | 475.69 |  | 16:55 | DRUM137 | lost | lost | Lost Sal & Temp - accidentally used Idronaut instead of ProDSS data
2024-07-09 |  | 11:21 | EBB183 | 21.9 | 21.39 | 32.075 | 1.5 | 8.904 | 56.2 | 40.01 | 456.81 |  | 11:25 | DRUM138 | 19.3 | 32 | probably 3RB
2024-07-10 |  | 11:27 | EBB184 | 21.84 | 21.342 | 32.141 | 1.63 | 8.824 | 56.2 | 55.41 | 443.56 |  | 11:39 | DRUM139 | 18.6 | 32.3 | probably 3RA
2024-07-11 |  | 11:29 | EBB185 | 21.773 | 21.282 | 32.21 | 1.52 | 8.652 | 56.2 | 74.46 | 444.48 |  | 11:35 | DRUM140 | 18.5 | 32.37
2024-07-12 |  | 11:20 | EBB186 | 21.689 | 21.197 | 32.28 | 1.43 | 8.607 | 56.71 | 97.44 | 457.67 |  | 11:14 | DRUM141 | 19.2 | 32.16
2024-07-15 |  | 11:21 | EBB187 | 21.667 | 21.486 | 32.525 | 1.41 | 8.375 | 56.2 | 182.9 | 449.07 |  | 11:21 | DRUM142 | 19 | 32.17 | started sampling with less air bubbles
2024-07-16 |  | 11:17 | EBB188 | 21.615 | 21.37 | 32.585 | 1.39 | 8.295 | 55.7 | 217.92 | 447.19 |  | 11:18 | DRUM143 | 19 | 32.05
2024-07-17 |  | 14:10 | EBB189 | 21.898 | 21.732 | 32.597 | 1.56 | 8.315 | 55.2 | 268 | 461.56 |  | 14:14 | DRUM144 | 19.7 | 32.11
2024-07-18 |  | 11:19 | EBB190 | 22.03 | 21.887 | 32.646 | 1.34 | 8.286 | 55.05 | 301.17 | 449.47 |  | 11:21 | DRUM145 | 19.5 | 32.18
2024-07-19 |  | 14:25 | EBB191 | 22.023 | 21.873 | 32.725 | 1.3 | 8.257 | 55.14 | 327.76 | 446.22 |  | 14:25 | DRUM146 | 19.6 | 32.14
2024-07-22 |  | 17:12 | EBB192 | 21.851 | 21.745 | 32.932 | 1.18 | 8.129 | 55.3 | 408.69 | 422.62 |  | 17:13 | DRUM147 | 19.5 | 32.16
2024-07-23 |  | 11:21 | EBB193 | 21.563 | 21.432 | 32.993 | 1.17 | 8.105 | 55.15 | 415.15 | 436.95 |  | 11:21 | DRUM148 | 19.3 | 32.31
2024-07-24 |  | 11:13 | EBB194 | 21.367 | 21.232 | 33.071 | 1.17 | 8.086 | 55.45 | 426.19 | 441.01 |  | 11:13 | DRUM149 | 19.3 | 32.29
2024-07-25 |  | 14:19 | EBB195 | 21.333 | 21.19 | 33.152 | 1.2 | 8.086 | 55.51 | 435.04 | 424.32 |  | 14:20 | DRUM150 | 19.2 | 32.51
2024-07-26 |  | 14:10 | EBB196 | 21.182 | 21.046 | 33.222 | 1.2 | 8.083 | 55.53 | 444.08 | 440.4 |  | 14:10 | DRUM151 | 18.7 | 32.39
2024-07-29 |  | 14:15 | EBB197 | 21.129 | 21.03 | 33.41 | 1.27 | 8.076 | 55.46 | 459.96 | 462.04 |  | 14:15 | DRUM152 | 18.5 | 32.49
2024-07-30 |  | 11:11 | EBB198 | 21.325 | 21.267 | 33.455 | 1.29 | 8.067 | 55.66 | 469.03 | 455.76 |  | 11:12 | DRUM153 | 18.7 | 32.67
2024-07-31 |  | 8:14 | EBB199 | 21.437 | 21.397 | 33.492 | 1.28 | 8.07 | 55.4 | 472.3 | 440.35 |  | 8:17 | DRUM154 | 19.1 | 32.64